## Slide 1
Image-guided Flexible Instrument Manipulation
Jayender Jagadeesan
Notes: <number>

## Slide 2: Left Atrial Catheter Ablation

## Slide 3: Limited Dexterity due to Transseptal Puncture
Transseptal Puncture
Notes: 0.5 min

## Slide 4: Challenges
Limited dexterity results in
  Difficulty in reaching some points in left atrium [Pappone 06]
  Error amplification from master to slave side
  Sub-optimal force, hence incomplete ablation [Wood 2007]
Choosing optimal location for transseptal puncture is clinically significant
Notes: <number>

## Slide 5: Objective of This Study
Develop and assess the method to find the optimal location for transseptal puncture
To maximize the dexterity of the catheter in the left atrium
Notes: <number>

## Slide 6
Global Isotropy Index
Defined as
where and are the minimum and maximum
singular values of the Jacobian (J)
Jacobian-based performance index to assess the level of uniformity in manipulator’s behaviour

## Slide 7: Kinematic Model of Catheter
Continuum Robot.
Moving Frenet-Serret frame
Three degrees of freedom – two revolute and 1 prismatic joint
Rotation matrix (Φ) at a point (σ)
Notes: <number>

## Slide 8: Global Isotropy Index
Catheter end-effector position
Catheter base position

## Slide 9
Heart Model
http://www.slicer.org
Notes: <number>

## Slide 10: Catheter Model in Slicer
To evaluate if the continuum robot model describes the behavior of catheter
Notes: <number>

## Slide 11: Clinical Evaluation of GII: Retrospective Case 1
Evaluate if GII is a measure of dexterity of the catheter
Male patient suffering from Atrial Fibrillation.
MRA images loaded into 3D Slicer
56 slices with resolution 0.4mmx0.4mmx0.7mm
Located the transseptal puncture on the septal wall using the Navx Ensite system
Clinician delineated areas which were difficult to navigate
Notes: <number>

## Slide 12: Result of Retrospective Case 1
Corroborates with the clinician’s experience
Notes: <number>

## Slide 13: Retrospective Case 2: Optimal Puncture Location Evaluation
Evaluate the optimal transseptal puncture location
CT scan of a female patient with Atrial Fibrillation
  64 slices, 0.4mm x 0.4mm x 0.7mm
Left atrium and septal wall segmented from the CT images in 3D Slicer

## Slide 14: Results of Retrospective Case 2
Optimization algorithm results in a discrete set of points which provide the best maneuverability of the catheter in the left atrium
Notes: <number>

## Slide 15: Conclusion
Extended rigid link robot literature to model flexible link robots such as catheters
Borrowed concepts from robotics to describe manipulability of the catheter.