## Slide 1: Security and Safety at FMR India, Bangalore
Housekeeping and Facility Safety

## Slide 2: Goal of Corporate Security Program
To provide direction, support and assistance to managers and employees in providing a safe and secure work environment in accordance with all applicable policy and regulatory requirements.

## Slide 3: Security Program Objectives
To establish a level of security essential to protect Fidelity’s reputation, employees, information and assets -
  Safe and secure work environment
  Effective asset protection
  Safeguarding of information
  Prevention and mitigation of losses
  Maintenance of essential services
  Critical infrastructure protection

## Slide 4
Rooftop Floor Plan

## Slide 5
Typical Floor Level Plan

## Slide 6
Basement Floor Plan

## Slide 7: Building Emergencies we need to plan for-
  Fire Emergency and Building Evacuations
  Suspicious Packages / Bomb Threats
  Hazardous Material Incidents
  Utility Incidents
  Demonstrations and Occupations
  Occupational Illness and Injury
  Workplace Violence
  Natural Disasters

## Slide 8: Fire Emergency Organization
The Fire Emergency organization is the foundation of the emergency response program
Provides coordinated and efficient means to manage building evacuations during the course of normal working hours
Conducts fire drills in accordance with applicable regulations
Report unsafe fire conditions for corrective action

## Slide 9
Housekeeping team – Do’s
Always ensure you are in possession of your company ID badge before entering Fidelity site.
Contract vendor badges to be taken from the basement after making entry in the concerned register.
Entry shall always be from the vendor entry/ exit gate at the basement, all other entry/exit doors are out of bounds.
Carry minimum personal cash and it is advisable not to carry any personal belongings inside the building during the course of your duty.
Always disclose belongings carried at the basement gate

## Slide 10
The company issued ID badge and the contract vendor badge should always be displayed during the period of stay in the site.
Always work in the pre-allotted locations.
Shall display required display boards during cleaning( Eg. WET FLOOR, CLEANING IN PROGRESS etc.)
Shall adhere to the timings as allotted for any location.
Inform Security team in case of any fire or theft at the earliest.

## Slide 11
Enter basement parking circling the roundabout
Always follow the designated route for entry/ exit of vehicles in the basement.
Take security escort while cleaning the Corporate Security enclosure.
Take security escort during the course of your duty inside the building.
Use emergency exits only in case of any emergency or fire alert.

## Slide 12
In case of fire alarm move swiftly outside the building through the emergency exit.
Be co-operative and helpful to the Security team. And always report any incident to the Security help desk at the earliest so that appropriate actions can be taken.
Always deposit the contract vendor badge at the vendor gate before leaving the site.
Be co-operative when physical frisking is carried out by the security team.

## Slide 13
Housekeeping Team – Do not
Enter the site without Company issued ID badge.
Enter/exit from the building through any other door apart from the designated vendor entry /exit gate at the basement.
Keep the contract vendor badge in the pocket/leave it unattended at any place.
Take the badge home on completion of duty.
Give the badge to fellow vendor for depositing at the security post.

## Slide 14
Use any emergency doors for entry/exit or operate it out of curiosity.
Lock any room from inside while working (particularly wash rooms).
Sleep inside the building or in the basement.
Use the rooftop terrace as an alternative for wash room.
Smoke in the building or in the basement.
Take any personal belonging of employees at the work stations

## Slide 15
Take any property belonging to Fidelity Investments.
Operate any of the fire extinguishers or any fire hydrant system unless a situation of emergency arises.
Loiter inside the building unnecessarily.
Use any of the lifts or main lobby entry during any emergency or fire alerts.
Use employee lifts to enter the basement.

## Slide 16
Try to break any locks or cross the Security barrier.
Enter the site under the influence of banned substances.
Leave your cleaning material in any of the place unattended. Rather keep it in allotted locations.
Use any of the corridors or passages for sleeping.
Be rude and non co-operative to the security team.

## Slide 17: Understanding Fire Safety
Life Safety
  The primary goal of fire safety efforts is to protect building occupants from injury and to prevent loss of life.
Property Protection
  The secondary goal of fire safety is to prevent property damage.
Protection of Operations
  By preventing fires and limiting damage we can assure that work operations will continue.

## Slide 18: What trained housekeeping staff can do
Good housekeeping habits are an important part of a safe workplace.
Why is good housekeeping important?
  To reduce amounts of flammable and combustible materials.
  To reduce ignition hazards.
  To ensure safe emergency evacuation of occupants.
  To allow for quick emergency response.

## Slide 19: General Housekeeping Guidelines
Work areas, aisles, walkways, stairways, and equipment should be kept clear of loose materials, trash, scraps, etc.
Never block aisles, fire exits, emergency equipment, or alarm pull stations with equipment or materials.
Avoid build up of combustible trash and waste such as paper, wood, cardboard, etc.
Keep use and storage of flammables and combustibles to a minimum.
Clean up all spills such as grease, oil, or water immediately. A delay could result in accidents.

## Slide 20: Storage Guidelines
No storage is allowed in corridors and stairwells. A cluttered hallway could slow down emergency evacuation.
Storage must not exceed a plane of 18 inches below sprinkler heads or smoke detectors. Storage that breaks this plane may prevent sprinkler heads from fully covering room during a fire.
A simulated example of how storage can protrude into 18 inch plane below sprinkler heads.

## Slide 21: Storage Guidelines
All storage must be at least 3 ft from electrical panels. In some emergency situations it will be necessary to access these panels quickly.
Maintain at least a 3ft clearance from heating surfaces, air ducts, heaters, and lighting fixtures.
Storage of combustible materials in mechanical rooms is prohibited.
Improper Storage in front of Electrical Panel
Improper Mechanical Room Storage

## Slide 22: Flammable and Combustible liquids
Flammable and combustible liquids are potential fuel sources for fires and are present in almost every workplace.
It is actually the vapor created by flammable and combustible liquids that ignites and burns.
It is important to understand what materials in your work area are flammable and combustible so that you may properly store and isolate them from ignition sources.

## Slide 23: Flammable and Combustible Liquids Continued...
Flammable liquids are considered flammable because their flashpoints are < 100ºF. This means that flammable liquids burn easily at normal working temperatures.
Combustible liquids have a flashpoint at or above 100ºF. These liquids are less hazardous than flammable liquids but still pose a risk.
The volatility of flammable and combustible liquids requires special storage and handling requirements.

## Slide 24: Storing Flammable and Combustible Liquids
Flammable liquids must be stored away from ignition sources in cool, well ventilated areas away from incompatible materials
Limit the amount of flammable and combustible liquids to the minimum amount necessary.
As a general rule, No more than 25 ltrs of flammable materials should be outside of approved flammable liquid storage cabinets or approved storage rooms.
Room storage limits of flammable and combustible materials depend on various factors such as sprinklers, and storage cabinets.

## Slide 25: Fire Safety - Electrical Issues
Electrical hazards are the cause of numerous workplace fires each year. Faulty electrical equipment or misuse of equipment produces heat and sparks that serve as ignition sources in the presence of flammable and combustible materials.
Examples of common ignition hazards:
  overloading circuits
  use of unapproved electrical devices
  damaged or worn wiring

## Slide 26: Electrical Fire Safety
Extension cords
  Extension cords are only approved for temporary use.
  When using extension cords check for defects such as frays, brittleness, or broken wires.
  Never place extension cords in high traffic areas where they can be damaged by being stepped on or run over by equipment.

## Slide 27: Electrical Fire Safety
Multi-plug strips
  Should only be used for office equipment such as computers, printers, and fax machines.
  Other common items such as microwaves, refrigerators, and copy machines must be plugged directly into wall outlets. This is a requirement of the State Fire Brigade.
  Multi-plug strips should have a fuse or circuit breaker and be UL approved.

## Slide 28: Electrical Fire Safety
Avoid the following improper and hazardous practices:
  Never use three prong adapters that allow a three pronged plug to plug into a two prong outlet.
  Never use any item with a damaged or frayed electrical cord.
  Space Heaters are not allowed in campus buildings.
  Never daisy chain or piggy back multi-plug strips and electrical cords (plugging strips and cords into each other).
Piggy-backed multi-plug strips

## Slide 29: What’s A Fire Door?
Fire doors are designed to withstand fire, heat and smoke for a period of 20-minutes to 3 hours.
Did you know that corridor office doors are fire doors and should have a 20 minute rating?
Corridor laboratory doors should have a 60 minute rating.
Fire Doors are required to:
  Be Self Closing: fire doors should have a door closure that pulls doors completely shut after the door has been opened
  Have Positive latching: a positive latch locks a door in place so can open swing open freely.

## Slide 30: 4 Reasons Not to Wedge Open Fire Doors
For the safety of your buildings occupants.
  If a fire occurs in a location where the fire door has been wedged, smoke and heat will travel freely into exit corridors hindering or preventing occupant evacuation.
It’s State Law
  Fire Brigade inspects our campus and issues numerous citations for wedging or blocking open doors.
To reduce or prevent damage to property, research, personal belongings, etc.
  Keeping your door shut will keep out smoke or fire originating in other locations.
To hold open your door you may have an electro-magnetic device installed.
  This device releases a fire door upon activation of the fire alarm allowing it to close and latch.

## Slide 31: Points To Remember
Housekeeping Issues
  Keep your worksite clean and free of trash and debris.
  Follow proper storage guidelines.
Flammable and Combustible Liquids
  Use and store the minimum amounts necessary.
  Follow correct storage guidelines.
Electrical Fire Hazards
  Don’t use unapproved electrical devices.
  Avoid improper uses of multi-plugs.
Compartmentalization
  Maintain compartmentalized systems to prevent spreading of fire
  Don’t wedge or block open doors.