: Meeting on Access Control Critical Issues :

Attended by : Sh. PKJ / HSP / BPS / NH / VS / CD / HHP

Date : 01 Sep 99

## Venue : SSO A2

| Sr. No. | # Critical Issue | Comments by committee | Target Date | Responsibility |
| --- | --- | --- | --- | --- |
|  | Access Control requirement of following to be defined - Control Rooms - PIBs - Sub Stations - Maintenance Workshops - MMC - Laboratories - EMB - Port | Restricted entry recommended for Control room DCS area, PIBs, Sub stations, MMC, Central Laboratories and Port area. For EMB and Maintenance Offices / Satellite workshops attached with individual plants, no access control required. |  |  |
|  | Inside Refinery, no individual plant access control provided. Confirm acceptance | Acceptance confirmed. |  |  |
|  | Should the Contract Workers entering refinery have universal access within refinery battery limit? Should their access be restricted to their area of work ? Access can be restricted only by way of colour coding of badges | No universal access for contract workers entering refinery battery limit. Restriction by colour coding along with random checking by security for compliance recommended. However, some contract workers may be issued Universal passes who are required to move across various plants. e.g. On line sealing, Contractor supervisors, Scaffolders and Fabrication workers. Sh. BPS to give input on No. of contract workers coming to Refinery B/L and their classification. | 14 SEP 99 | BPS |
|  | Should the visitors to Battery limit refinery be necessarily escorted In and escorted Out from the Refinery gate ? In such case, do the employees receiving the visitors depend on shuttle buses or do we plan to have departmental vehicle made available ? | Committee could not reach to conclusion. APEX opinion requested. | 14 SEP 99 | NH |
|  | Avenue J is outside perimeter Intrusion Detection System. The refinery plants including RTF are within the system with a single access control at Refinery Gate. The employees working in Road Terminal / Rail Terminal / Solid Terminal etc. will commute on Avenue J by shift buses via Material Gate i.e. These buses will not trespass through the secured and sterile refinery area. Turnstiles will be provided at three suitable locations at Battery Limit perimeter to enable employees working at these facilities to enter in Refinery area.These Turnstiles will be located near to shuttle bus stops in Refinery | Scheme acceptable for Employees and contract workers movement. Vehicle access for Material delivering truck from MMC to RRTF and Equipment going to EMB central Workshop for Maintenance / Overhaul to be provided. |  |  |
|  | Temple and surrounding agricultural land will remain out of the secured Refinery area. Similarly, Labour Colony 2 will remain out side the secured refinery area. The perimeter Intrusion Detection System will be accordingly routed to exclude these areas. | Agreed. |  |  |
|  | Parking place for vehicles of visitors, transporters and agents of oil companies need to be planned. | To be discussed with Sh. BPN Sinha. | 14 SEP 99 | NH |
|  | Access to the control room on first floor of RRTF Admin. Building will be controlled by use of Turnstiles. Access control to the ground floor of the Admin building will be on the display of ID card. | To be discussed with Sh. BPN Sinha. | 14 SEP 99 | NH |
|  | Visitors and employees for Fabrication shops and CMC will come from Main Gate. They will pass through a Gate south of SSO on the road leading to Fabrication shops by shuttle bus or their own vehicles. | Visitors and employees to use shuttle bus for commuting. |  |  |
|  | Requirement of Access control through Turnstiles for Fabrication shops and SSO complex to be confirmed. | To be discussed with Sh. AGD. | 14 SEP 99 | VS |
|  | Construction Workers within Refinery battery limit area will be isolated by local fencing and use of colour coded badges. These workers will be transported to & fro from their entry points by dedicated buses. Accordingly no. of buses need to be planned. | Agreed. |  |  |
|  | Contract / construction workers entering refinery area will pass through Bio-metric readers and turnstiles. For contract / construction workers access terminals are planned at two places - one near LC2, second On street 1 near avenue B. The minimum and maximum traffic density at these points is not clear. This requires to be confirmed for deciding no.of Turnstiles and Bio-metric readers. | To be discussed with Sh. AGD / SVKR. | 14 SEP 99 | VS |
|  | Registration of Contract / Construction workers requiring access within refinery and MTF area will be carried out at Project Gate. A small room say 3m x 3m will have to be planned at Project Gate. | Agreed. |  |  |
|  | Pipe ways at the following crossings need to be protected to prevent any sabotage or accident (Toppling of a vehicle etc.) Suitable side walls are required. - Vadi Crossing - Nani khavdi crossing | To be discussed with Sh. AGD. | 14 SEP 99 | VS |
|  | All culverts and drains from battery limit area to outside need to be secured by a removable fabricated robust metal grills. There are approx. 100 such points for Refinery and MTF area | Agreed. |  |  |
|  | MTF Main Gate will function in similar manner as Refinery Main Gate. Access to MTF Admin. Building and MTF battery limit area will be through Turnstiles. | Agreed. |  |  |
|  | All Reliance vehicles and employees including escorted visitors will be allowed to pass through Haul Road. Contractor / Construction workers and their vehicles will not be allowed unless specifically permitted to work in that area. | Consensus could not be reached. APEX to be consulted. | 14 SEP 99 | NH |
|  | Tunnel Entry / Exit will be controlled by Rolling Shutters operated by employee’s Proximity card. | Agreed. |  |  |
|  | Access control to MAB to be defined. | To be finalised with Sh. VVB. | 14 SEP 99 | HSP |
|  | Private area in Project area need to be isolated by fence and entry /exit need to be regulated specially at Avenue J crossing. | Agreed. |  |  |
|  | Suitable shed /structure / small buildings are required to house the Turnstiles / Bio-metric readers / Registration points | Agreed. |  |  |
|  | The truck drivers and helpers for Liquid area will be checked by Bio-metric at Liquid Parking | Agreed. |  |  |
|  | Visitors passes for SSO, Fabrication shops, MAB, Refinery will be issued from Main Gate. Visitors passes for Road / Rail / Solids terminals etc. will be issued from Material Gate. For MTF and Marine facilities, visitors passes will be issued from MTF Main Gate. | Agreed. |  |  |
|  | Employees registration and issue of ID cards will be carried only at Main Security Office in the Refinery. | Agreed. |  |  |
|  | No bio-metric access control is planned for Contract / Construction workers in the areas outside battery limit e.g. SSO, Fabrication shops, MAB, Green Belt and Solids terminal | Agreed. |  |  |