## SUMMARY OF AUTOMATION SYSTEMS REQUIRED

| ### Task | CCD Camera | Turnstile | Intrusion Detection Device | Proximity Card Reader | Bar Coded Card Reader | Elect. Sliding Gate | Electronic Boom Barrier Monitor | Others |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ### Access Control – Men | 12 | 12 | 00 | 14 | 10 | 03 | 18 |  |
| Access Control – Material | 20 | 00 | 00 | 00 | 00 | 00 | 00 | Terminal Automation |
| TFC Control | 12 | 00 | 00 | 00 | 00 | 00 | 00 | Computerised Tfc Lights at 08 location |
| Security Of Material Storage Godowns / Yards | 44 | 00 | 08 | 00 | 00 | 00 | 00 |  |
| Property Protection | 33 | 06 | 00 | 00 | 00 | 00 | 00 |  |
| Control Room | 00 | 00 | 00 | 00 | 00 | 00 | 00 |  |
| TOTAL | 121 | 18 | 08 | 14 | 10 | 03 | 18 |  |

Monitors – @ one at each gate having CCD Cameras on it and in its parking area.  In Security Control Room number of monitors will be @ one monitor for 16 CCD Cameras +  02  for  enlarged viewing.