## Budget Summary
Sl.No. | Head | Amount (US$) | Amount (Rs.)
1 | Gate Fabrication | 200000
2 | Gate & Barrier Automation | 158050
3 | Access Control Field Equipment | 1677550
4 | CCTV Field Equipment | 301000
5 | ACS Control Room Equipment | 128800
6 | CCTV Control Room Equipment | 313100
| Total Supply Cost | 2778500 | 125032500
| Add variable margin @10% | 277850 | 12503250
| Add Installation, testing and commissioning @15% | 416775 | 18754875
| Add Freight, Insurance, Customs, etc. @15% | 416775 | 18754875
| Civil works including Terminals, Foundations, Mounting Towers, etc. on a lump sum basis | 222222.2222 | 10000000
| Total Budget | 4112122.2222 | 185045500
|  | US$ 4.11 million | Rs. 18.5 crores

## Access Control Budget
|  |  |  | Estimated Supply Cost |  |  | Philips |  |  | Datamatics |  |  | JCIPL
Sl.No. | Field Location Equipment | Unit | Qty | Price | Amount | % of Total | Price | Amount | % of Total | Price | Amount | % of Total | Price | Amount | % of Total
1 | Smart Cards (1-sector) | Nos. | 5000 | 3.5 | 17500 | 0.9688% | [6 empty] | 3.5 | 17500 | 0.9688% | T/S | PIBs | SubStn | ARS | Buses/O | MAB/CRs | Total
2 | Smart Cards (16-sector) | Nos. | 3000 | 3.5 | 10500 | 0.5813% | [6 empty] | 3.5 | 10500 | 0.5813% | 51 | 30 | 70 | 70 | 50 | 20
3 | Smart Card Reader | Nos. | 312 | 525 | 163800 | 9.068% | [6 empty] | 525 | 163800 | 9.068% | 102 | 30 | 70 | 70 |  | 40 | 312
4 | Smart Card + PIN Reader | Nos. | 100 | 1050 | 105000 | 5.813% | [6 empty] | 1050 | 105000 | 5.813% |  | 30 | 70 |  |  |  | 100
5 | Portable Reader + Controller | Nos. | 50 | 1500 | 75000 | 4.152% | [6 empty] | 1500 | 75000 | 4.152% |  |  |  |  | 50 |  | 50
6 | Biometric Reader | Nos. | 90 | 4200 | 378000 | 20.93% | [6 empty] | 4200 | 378000 | 20.93% | 90 | [5 empty] | 90
7 | Turnstile | Nos. | 51 | 11500 | 586500 | 32.47% | [6 empty] | 11500 | 586500 | 32.47%
8 | EM Locks | Nos. | 20 | 300 | 6000 | 0.3322% | [6 empty] | 300 | 6000 | 0.3322%
9 | Sensors | Nos. | 500 | 20 | 10000 | 0.5536% | [6 empty] | 20 | 10000 | 0.5536%
10 | Regulated Power Supply | Nos. | 250 | 250 | 62500 | 3.46% | [6 empty] | 250 | 62500 | 3.46%
11 | UPS 2 KVA | Nos. | 10 | 1400 | 14000 | 0.775% | [6 empty] | 1400 | 14000 | 0.775%
12 | UPS 10 KVA | Nos. | 3 | 20000 | 60000 | 3.322% | [6 empty] | 20000 | 60000 | 3.322%
13 | Sub-Controllers | Nos. | 250 | 455 | 113750 | 6.297% | [6 empty] | 455 | 113750 | 6.297%
14 | TCP/IP Convertor | Nos. | 100 | 750 | 75000 | 4.152% | [6 empty] | 750 | 75000 | 4.152%
| Sub Total A |  |  |  | 1677550 | [8 empty] | 1677550
Control Room Equipment
15 | LCD Screen | Set | 1 | 10000 | 10000 | 0.5536% | [6 empty] | 10000 | 10000 | 0.5536%
16 | Server with mirror backup | Set | 1 | 2800 | 2800 | 0.155% | [6 empty] | 2800 | 2800 | 0.155%
17 | Workstation PC | Nos. | 8 | 3800 | 30400 | 1.683% | [6 empty] | 3800 | 30400 | 1.683%
18 | Printer | Nos. | 8 | 700 | 5600 | 0.31% | [6 empty] | 700 | 5600 | 0.31%
19 | Main Controller | Nos. | 25 | 500 | 12500 | 0.692% | [6 empty] | 500 | 12500 | 0.692%
20 | Data Transfer Unit | Nos. | 5 | 2500 | 12500 | 0.692% | [6 empty] | 2500 | 12500 | 0.692%
21 | Application Software | Set | 1 | 10000 | 10000 | 0.5536% | [6 empty] | 10000 | 10000 | 0.5536%
22 | UPS 10 KVA | Nos. | 1 | 20000 | 20000 | 1.107% | [6 empty] | 20000 | 20000 | 1.107%
23 | Miscellaneous Software/Hardware | Set | 1 | 25000 | 25000 | 1.384% | [6 empty] | 25000 | 25000 | 1.384%
| Sub Total B |  |  |  | 128800 | 100% | [7 empty] | 128800
| Grand Total |  |  |  | 1806350 | 81285750 | [7 empty] | 1806350 | 81285750

## CCTV Budget
|  |  |  | Estimated Supply Costs |  |  | Philips |  |  | Datamatics |  |  | JCIPL
Sl.No. | Field Location Equipment | Unit | Qty | Price | Amount | % of Total | Price | Amount | % of Total | Price | Amount | % of Total | Price | Amount | % of Total
1 | Outdoor Short Range PTZ Camera | Nos. | 13 | 2750 | 35750 | 5.822% | [6 empty] | 2750 | 35750 | 5.822%
2 | Outdoor Medium Range PTZ Camera | Nos. | 33 | 4000 | 132000 | 21.49% | [6 empty] | 4000 | 132000 | 21.49%
3 | Outdoor Medium Range PTZ Camera EX | Nos. | 2 | 6500 | 13000 | 2.117% | [6 empty] | 6500 | 13000 | 2.117%
4 | Outdoor Fixed Camera | Nos. | 8 | 1500 | 12000 | 1.954% | [6 empty] | 1500 | 12000 | 1.954%
5 | Indoor Camera with Panning Table | Nos. | 6 | 1000 | 6000 | 0.977% | [6 empty] | 1000 | 6000 | 0.977%
6 | Dome Type Camera with Presets | Nos. | 3 | 3250 | 9750 | 1.588% | [6 empty] | 3250 | 9750 | 1.588%
7 | Fiber Optic Transceiver | Nos. | 25 | 3500 | 87500 | 14.25% | [6 empty] | 3500 | 87500 | 14.25%
8 | UPS 1 KVA | Nos. | 25 | 200 | 5000 | 0.8142% | [6 empty] | 200 | 5000 | 0.8142%
| Sub Total A |  |  |  | 301000 | [8 empty] | 301000
Control Room Equipment
9 | LCD Screen | Set | 1 | 10000 | 10000 | 1.628% | [6 empty] | 10000 | 10000 | 1.628%
10 | Matrix Controller - Rack Mounted | Set | 1 | 45000 | 45000 | 7.328% | [6 empty] | 45000 | 45000 | 7.328%
11 | Fiber Optic Transceivers - Rack Mounted | Set | 1 | 80000 | 80000 | 13.03% | [6 empty] | 80000 | 80000 | 13.03%
12 | Full Function Keyboards with Joystick | Nos. | 8 | 1500 | 12000 | 1.954% | [6 empty] | 1500 | 12000 | 1.954%
13 | Color Duplex Multiplexer | Nos. | 5 | 2000 | 10000 | 1.628% | [6 empty] | 2000 | 10000 | 1.628%
14 | Time Lapse Recorder - 168H | Nos. | 5 | 1500 | 7500 | 1.221% | [6 empty] | 1500 | 7500 | 1.221%
15 | Digital Video Recording System | Set | 1 | 20000 | 20000 | 3.257% | [6 empty] | 20000 | 20000 | 3.257%
16 | 17" High Resolution Color Monitors | Nos. | 28 | 1200 | 33600 | 5.471% | [6 empty] | 1200 | 33600 | 5.471%
17 | UPS 10 KVA | Nos. | 1 | 20000 | 20000 | 3.257% | [6 empty] | 20000 | 20000 | 3.257%
18 | Rack mounting hardware | Set | 1 | 50000 | 50000 | 8.142% | [6 empty] | 50000 | 50000 | 8.142%
19 | Miscellaneous Software/Hardware | Set | 1 | 25000 | 25000 | 4.071% | [6 empty] | 25000 | 25000 | 4.071%
| Sub Total B |  |  |  | 313100 | 100% | [7 empty] | 313100 | 100%
| Grand Total |  |  |  | 614100 | 27634500 | [7 empty] | 614100 | 27634500

## Gate Budget
| Gates & Barriers |  |  | Estimated Supply Cost |  |  | Philips |  |  | Datamatics |  |  | JCIPL
Sl.No. | Field Location Equipment | Unit | Qty | Price | Amount | % of Total | Price | Amount | % of Total | Price | Amount | % of Total | Price | Amount | % of Total
1 | Gate Fabrication | Set | 1 | 200000 | 200000 | 55.86% | [6 empty] | 200000 | 200000 | 55.86%
| Sub-Total - A |  |  |  | 200000
2 | Double swing small gates | Nos. | 28 | 1600 | 44800 | 12.51% | [6 empty] | 1600 | 44800 | 12.51%
3 | Double swing large gates | Nos. | 19 | 2750 | 52250 | 14.59% | [6 empty] | 2750 | 52250 | 14.59%
4 | Boom Barriers | Nos. | 22 | 2500 | 55000 | 15.36% | [6 empty] | 2500 | 55000 | 15.36%
5 | Sliding Gates | Nos. | 2 | 3000 | 6000 | 1.676% | [6 empty] | 3000 | 6000 | 1.676%
| Sub - Total B |  |  |  | 158050 | 100% | [8 empty] | 100%
| Grand Total |  |  |  | 358050 | 16112250 | [7 empty] | 358050 | 16112250