## Budget Summary
Sl.No. | Head | Amount (US$) | Amount (Rs.)
1 | Gate Fabrication | 200000 | 9000000
2 | Gate & Barrier Automation | 158050
3 | Access Control Field Equipment | 1677550
4 | CCTV Field Equipment | 301000
5 | ACS Control Room Equipment | 128800
6 | CCTV Control Room Equipment | 313100
7 | Marine surveillance system (Thermic camera) | 450000
8 | Automatic vehicle identification system | 200000
9 | Sealing openings (Waterways etc. ) by Metallic grill - 93 nos. | 54880.7573 | 2469634.0779
| Total Supply Cost | 3483380.7573 | 156752134.0779
| Add variable margin @10% | 348338.0757 | 15675213.4078
| Add Installation, testing and commissioning @15% | 522507.1136 | 23512820.1117
| Add Freight, Insurance, Customs, etc. @15% | 522507.1136 | 23512820.1117
| Civil works including Terminals, Foundations, Mounting Towers, etc. on a lump sum basis | 222222.2222 | 10000000
| Main Control room ~2825 sq ft. | 97305.5556 | 4378750
| Civil works as per attached sheet | 806434.4444 | 36289550
| Total Budget | 6002695.2824 | 270121287.7091
|  | US$ 6 million | Rs. 27 crores

## Access Control Budget
Estimated Supply Cost
Sl.No. | Field Location Equipment | Unit | Qty | Price | Amount | % of Total
1 | Smart Cards (1-sector) | Nos. | 5000 | 3.5 | 17500 | 0.9688% | T/S | PIBs | SubStn | ARS | Buses/O | MAB/CRs | Total
2 | Smart Cards (16-sector) | Nos. | 3000 | 3.5 | 10500 | 0.5813% | 51 | 30 | 70 | 70 | 50 | 20
3 | Smart Card Reader | Nos. | 312 | 525 | 163800 | 9.068% | 102 | 30 | 70 | 70 |  | 40 | 312
4 | Smart Card + PIN Reader | Nos. | 100 | 1050 | 105000 | 5.813% |  | 30 | 70 |  |  |  | 100
5 | Portable Reader + Controller | Nos. | 50 | 1500 | 75000 | 4.152% |  |  |  |  | 50 |  | 50
6 | Biometric Reader | Nos. | 90 | 4200 | 378000 | 20.93% | 90 | [5 empty] | 90
7 | Turnstile | Nos. | 51 | 11500 | 586500 | 32.47%
8 | EM Locks | Nos. | 20 | 300 | 6000 | 0.3322%
9 | Sensors | Nos. | 500 | 20 | 10000 | 0.5536%
10 | Regulated Power Supply | Nos. | 250 | 250 | 62500 | 3.46%
11 | UPS 2 KVA | Nos. | 10 | 1400 | 14000 | 0.775%
12 | UPS 10 KVA | Nos. | 3 | 20000 | 60000 | 3.322%
13 | Sub-Controllers | Nos. | 250 | 455 | 113750 | 6.297%
14 | TCP/IP Convertor | Nos. | 100 | 750 | 75000 | 4.152%
| Sub Total A |  |  |  | 1677550
Control Room Equipment
15 | LCD Screen | Set | 1 | 10000 | 10000 | 0.5536%
16 | Server with mirror backup | Set | 1 | 2800 | 2800 | 0.155%
17 | Workstation PC | Nos. | 8 | 3800 | 30400 | 1.683%
18 | Printer | Nos. | 8 | 700 | 5600 | 0.31%
19 | Main Controller | Nos. | 25 | 500 | 12500 | 0.692%
20 | Data Transfer Unit | Nos. | 5 | 2500 | 12500 | 0.692%
21 | Application Software | Set | 1 | 10000 | 10000 | 0.5536%
22 | UPS 10 KVA | Nos. | 1 | 20000 | 20000 | 1.107%
23 | Miscellaneous Software/Hardware | Set | 1 | 25000 | 25000 | 1.384%
| Sub Total B |  |  |  | 128800 | 100%
| Grand Total |  |  |  | 1806350 | 81285750

## CCTV Budget
Estimated Supply Costs
Sl.No. | Field Location Equipment | Unit | Qty | Price | Amount | % of Total
1 | Outdoor Short Range PTZ Camera | Nos. | 13 | 2750 | 35750 | 5.822%
2 | Outdoor Medium Range PTZ Camera | Nos. | 33 | 4000 | 132000 | 21.49%
3 | Outdoor Medium Range PTZ Camera EX | Nos. | 2 | 6500 | 13000 | 2.117%
4 | Outdoor Fixed Camera | Nos. | 8 | 1500 | 12000 | 1.954%
5 | Indoor Camera with Panning Table | Nos. | 6 | 1000 | 6000 | 0.977%
6 | Dome Type Camera with Presets | Nos. | 3 | 3250 | 9750 | 1.588%
7 | Fiber Optic Transceiver | Nos. | 25 | 3500 | 87500 | 14.25%
8 | UPS 1 KVA | Nos. | 25 | 200 | 5000 | 0.8142%
| Sub Total A |  |  |  | 301000
Control Room Equipment
9 | LCD Screen | Set | 1 | 10000 | 10000 | 1.628%
10 | Matrix Controller - Rack Mounted | Set | 1 | 45000 | 45000 | 7.328%
11 | Fiber Optic Transceivers - Rack Mounted | Set | 1 | 80000 | 80000 | 13.03%
12 | Full Function Keyboards with Joystick | Nos. | 8 | 1500 | 12000 | 1.954%
13 | Color Duplex Multiplexer | Nos. | 5 | 2000 | 10000 | 1.628%
14 | Time Lapse Recorder - 168H | Nos. | 5 | 1500 | 7500 | 1.221%
15 | Digital Video Recording System | Set | 1 | 20000 | 20000 | 3.257%
16 | 17" High Resolution Color Monitors | Nos. | 28 | 1200 | 33600 | 5.471%
17 | UPS 10 KVA | Nos. | 1 | 20000 | 20000 | 3.257%
18 | Rack mounting hardware | Set | 1 | 50000 | 50000 | 8.142%
19 | Miscellaneous Software/Hardware | Set | 1 | 25000 | 25000 | 4.071%
| Sub Total B |  |  |  | 313100 | 100%
| Grand Total |  |  |  | 614100 | 27634500

## METAL GRILLS
Sr No. | Location | Description | Width of opening in meter | Height of opening in meter | Diameter of opening in meter | Area of Opening in sq. mtr. | Number of Openings | Total area to be covered in sq. mtr. | Unit rate in Rs. per sq. mtr. | Cost in Rs.
Refinery area
1 | Avn J Piping Culvert | Culvert | 4.99 | 2.24 | ** | 11.1776 | 7 | 78.2432 | 6000 | 469459.2
2 | Avn J / Material Gate Nullah | Culvert | 5.32 | 1.48 | ** | 7.8736 | 3 | 23.6208 | 6000 | 141724.8
3 | Avn J / Material Gate Nullah co-located with ser No: 02 | Hume Pipe | ** | ** | 0.79 | 0.48992 | 2 | 0.97984 | 6000 | 5879.022
4 | Avn J / Labour Colony 1 Nullah | Culvert | 5.32 | 1.48 | ** | 7.8736 | 3 | 23.6208 | 6000 | 141724.8
5 | Avn J / St 1 | Steel Pipe | ** | ** | 0.92 | 0.66442 | 5 | 3.3221 | 6000 | 19932.72
6 | Avn J / Between St 1 & St 3 | Hume Pipe | ** | ** | 0.72 | 0.40694 | 4 | 1.6278 | 6000 | 9766.656
7 | Avn J / St 4 | Culvert | 1.5 | 0.46 | ** | 0.69 | 2 | 1.38 | 6000 | 8280
8 | Avn J / St 7 | Culvert | 1.53 | 1.1 | ** | 1.683 | 3 | 5.049 | 6000 | 30294
9 | St 9 / Avn F | Culvert | 1.25 | 0.71 | ** | 0.8875 | 3 | 2.6625 | 6000 | 15975
10 | St 9 / Avn D | Culvert | 1.25 | 0.82 | ** | 1.025 | 3 | 3.075 | 6000 | 18450
11 | St 9 / Avn A | Culverts | 1.55 | 0.94 | ** | 1.457 | 3 | 4.371 | 6000 | 26226
12 | Western Boundary Wall No. 73 | Hume Pipe | ** | ** | 0.46 | 0.16611 | 24 | 3.9865 | 6000 | 23919.264
Marine Tank Farm Area
13 | Haul Road Western Wall A | Hume Pipe | ** | ** | 0.54 | 0.22891 | 2 | 0.45781 | 6000 | 2746.872
14 | Haul Road Western Wall B | Hume Pipe | ** | ** | 0.48 | 0.18086 | 2 | 0.36173 | 6000 | 2170.368
15 | Haul Road Western Wall C | Hume Pipe | ** | ** | 0.54 | 0.22891 | 2 | 0.45781 | 6000 | 2746.872
16 | Haul Road Western Wall D | Hume Pipe | ** | ** | 0.64 | 0.32154 | 2 | 0.64307 | 6000 | 3858.432
17 | Haul Road Western Wall E | Hume Pipe | ** | ** | 1.015 | 0.80873 | 2 | 1.6175 | 6000 | 9704.7195
18 | Haul Road Western Wall F | Hume Pipe | ** | ** | 1.015 | 0.80873 | 2 | 1.6175 | 6000 | 9704.7195
19 | Haul Road Western Wall G | Hume Pipe | ** | ** | 1.035 | 0.84091 | 2 | 1.6818 | 6000 | 10090.9395
20 | Haul Road Eastern Wall A | Hume Pipe | ** | ** | 1.035 | 0.84091 | 1 | 0.84091 | 6000 | 5045.4698
21 | Haul Road Eastern Wall B | Hume Pipe | ** | ** | 1.025 | 0.82474 | 1 | 0.82474 | 6000 | 4948.4438
22 | Haul Road Eastern Wall C | Hume Pipe | ** | ** | 1.025 | 0.82474 | 2 | 1.6495 | 6000 | 9896.8875
23 | Haul Road Eastern Wall D | Hume Pipe | ** | ** | 0.54 | 0.22891 | 2 | 0.45781 | 6000 | 2746.872
24 | Haul Road Eastern Wall E | Hume Pipe | ** | ** | 0.62 | 0.30175 | 2 | 0.60351 | 6000 | 3621.048
25 | MTF Complex Western Wall | Hume Pipe | ** | ** | 1.015 | 0.80873 | 2 | 1.6175 | 6000 | 9704.7195
26 | MTF Complex Western Wall | Concrete Opening | 4.04 | 1.24 | ** | 5.0096 | 1 | 5.0096 | 6000 | 30057.6
27 | MTF Complex Western Wall | Hume Pipe | ** | ** | 1.015 | 0.80873 | 2 | 1.6175 | 6000 | 9704.7195
28 | MTF Complex Western Wall | Concrete Opening | 4.04 | 1.24 | ** | 5.0096 | 1 | 5.0096 | 6000 | 30057.6
29 | MTF Complex Eastern Wall | Concrete Opening | 2.44 | 1.46 | ** | 3.5624 | 1 | 3.5624 | 6000 | 21374.4
30 | MTF Complex Eastern Wall | Concrete Opening | 2.44 | 1.46 | ** | 3.5624 | 1 | 3.5624 | 6000 | 21374.4
31 | MTF Complex Eastern Wall | Concrete Opening | 2.44 | 1.46 | ** | 3.5624 | 1 | 3.5624 | 6000 | 21374.4
[7 empty] | 93 | 187.0935 | 6000 | 1122560.9445
| Considering sealing both sides of openings | [6 empty] | Total cost in Rs. = |  | 2245121.889
| Contigencies 10% | [6 empty] | Total cost in Rs. |  | 2469634.0779

## CIVIL WORKS
Sr No. | Description of the job | UOM | Estimated Quantity | Unit rate | Cost in Rs.
1 | Constructing foundation strip - 20 cm w x 60 cm deep - underneath Pre-cast wall | meter | 19000 | 300 | 5700000
2 | Constructing foundation strip - 20 cm w x 60 cm deep - underneath free standing fence | meter | 23000 | 300 | 6900000
3 | RR masonry boundary wall strengthening / Repairing | meter | 600 | 3200 | 1920000
4 | Pre cast boundary wall strengthening / Repairing | meter | 1900 | 2000 | 3800000
| Repairing of Y fence on top of wall | meter | 3100 | 125 | 387500
5 | Chain link fencing around Liquids and Solids parking area (Existing barbed wire fence need to be replaced) | meter | 6500 | 550 | 3575000
6 | Chain link fence around Temple and its right of way | meter | 3000 | 550 | 1650000
7 | Fence around private lands | meter | 4000 | 550 | 2200000
8 | Fence around Sulphur loading area | meter | 1500 | 550 | 825000
9 | Fence around PP loading area | meter | 1000 | 550 | 550000
10 | Fence around coke loading area | meter | 1500 | 550 | 825000
11 | Chain link fence – LC2 to ETP | meter | 1000 | 550 | 550000
12 | Chain link fence from Land fall point to zero point | meter | 4000 | 550 | 2200000
13 | Repairing fence around Fabrication shops & CMC | meter | 300 | 550 | 165000
14 | Repairing of fence around SSO covering L&T office blocks | meter | 400 | 550 | 220000
15 | Closure of Avenue A fence | meter | 500 | 550 | 275000
16 | Protection of pipe lines at Vadi crossing and Nani Khavdi Crossing - by RR masonry wall | meter | 40 | 3200 | 128000
18 | Widening of culverts near Refinery gate - Lumpsum |  |  |  | 400000
21 | Building – Project gate, Registration booth in Liquids and Solids parking - 20' x 10' each | sq. ft. | 600 | 1200 | 720000
|  |  |  | TOTAL Rs. | 32990500
| Contigencies 10% |  | Total Rs. |  | 36289550

## Gate Budget
| Gates & Barriers |  |  | Estimated Supply Cost
Sl.No. | Field Location Equipment | Unit | Qty | Price | Amount | % of Total
1 | Gate Fabrication | Set | 1 | 200000 | 200000 | 55.86%
| Sub-Total - A |  |  |  | 200000
2 | Double swing small gates | Nos. | 28 | 1600 | 44800 | 12.51%
3 | Double swing large gates | Nos. | 19 | 2750 | 52250 | 14.59%
4 | Boom Barriers | Nos. | 22 | 2500 | 55000 | 15.36%
5 | Sliding Gates | Nos. | 2 | 3000 | 6000 | 1.676%
| Sub - Total B |  |  |  | 158050 | 100%
| Grand Total |  |  |  | 358050 | 16112250