## Summary
Access Control - Field Equipment
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | Standard Smart Card Reader | SSCR | Nos. | 46 | 130 | 176 | PIBs, Sub-Stns, Cntrl Rms, MAB, FDC on hold
2 | Smart Card + PIN Reader | SCPR | Nos. | 0 | 79 | 79 | PIBs, Sub-Stns on hold
3 | Bus-mounted Smart Card Reader | BSCR | Nos. | 80 | 0 | 80
4 | Portable Smart Card Reader | PSCR | Nos. | 14 | 0 | 14
5 | Smart Card Reader for Vehicle | SCRV | Nos. | 6 | 4 | 10 | Tunnel Access Gate readers on hold
5 | Time-attendance Smart Card Reader | TSCR | Nos. | 66 | 0 | 66
7 | Standard Hand Geometry Reader | SHGR | Nos. | 6 | 25 | 31 | Reqd 1@Project Gate, 1@Refinery Gate, 2@Constn.Gate
8 | Hand Geometry + Barcode Reader | HGBR | Nos. | 5 | 13 | 18 | Reqd 2@LC2 Gate, 1@Liquids Prkg Regn Term, 1@Solids Prkg Regn Term, 1@Project Gate
9 | Long Range Proximity Reader for Vehicles | LRPR | Nos. | 0 | 0 | 0
10 | Single Turnstile | SFHB | Nos. | 25 | 0 | 25
11 | Dual Turnstile | DFHB | Nos. | 2 | 0 | 2 | Main Gate, MTF Admin. Bldg.
12 | Bus-mounted Turnstile | BMT | Nos. | 0 | 0 | 0
13 | Half Height Turnstile | HHT | Nos. | 0 | 0 | 0
14 | Electromagnetic Locks | EML | Nos. | 0 | 105 | 105 | PIBs, Sub-Stns, RCB, CPP, ACB, PP Cntrl Rms on hold
15 | Data Transmission & Indication Unit | DTU | Nos. | 40 | 0 | 40
16 | Field Controller Unit | FCU | Nos. |  |  |  | As per Vendor requirement
17 | Power Supply Unit | PSU | Nos. |  |  |  | As per Vendor requirement
18 | Input / Output Unit | IOU | Nos. |  |  |  | As per Vendor requirement
19 | Dial-up Module | DUM | Nos. | 2 | 0 | 2
20 | Magnetic Contact Sensor for Al. Door | MCA | Nos. |  |  |  | As per Vendor requirement
21 | Magnetic Contact Sensor for Steel Door | MCS | Nos. |  |  |  | As per Vendor requirement
22 | Magnetic Contact Sensor for Rolling Shutter | MCR | Nos. |  |  |  | As per Vendor requirement
23 | Magnetic Contact Sensor for Metal Gates | MCG | Nos. |  |  |  | As per Vendor requirement
Access Control - Control Room / Registration Terminal Equipment & Software
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | Access Control Server with Mirror Backup | ACMB | Nos. | 1 | 0 | 1
2 | Operator Workstations | OWS | Nos. | 15 | 6 | 21 | 6@Liquid Prkg on hold
3 | Laser Printer - Monochrome | LPM | Nos. | 2 | 0 | 2
4 | Inkjet Printer | IJP | Nos. | 6 | 6 | 12 | 6@Liquid Prkg on hold
5 | PVC ID-Card Printer w/ consummables | PIP | Nos. | 2 | 0 | 2
6 | 16 sector, 1kbyte, Smart Card - Mifare | SCM | Nos. | 6500 | 0 | 6500
7 | Wireless Data Download Unit | WDDU | Nos. | 4 | 0 | 4
8 | Access Control Software - Server | ACSS | Nos. | 1 | 0 | 1
9 | Access Control Software - Workstations | ACSW | Nos. | 10 | 0 | 10
10 | Access Control Software - Photo-ID | ACSP | Nos. | 6 | 6 | 12 | 6@Liquid Prkg on hold
11 | SMS - Server Software | SMSS | Nos. | 1 | 0 | 1 | @CSCR
12 | SMS - Client Software | SMSC | Nos. | 2 | 0 | 2 | @MSCR
13 | HandNet Software | HNS | Nos. | 1 | 0 | 1
14 | Digital Camera | DCCD | Nos. | 6 | 6 | 12 | 6@Liquid Prkg on hold
15 | Die-cutter & Laminator | DCL | Nos. | 4 | 6 | 10 | 6@Liquid Prkg on hold
16 | Smart Card Encoder | SCE | Nos. | 2 | 0 | 2
17 | Portable Reader Data Download Unit | PRDU | Nos. |  |  |  | As per requirement
Surveillance System - Field Equipment
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | Outdoor Medium Range PTZF Color Camera with 10-200 mm motorised Zoom lens | OMC | Nos. | 15 | 0 | 15 | Complete with all accessories, receiver driver unit, as per detailed specifications
2 | Outdoor Fixed Color Camera | OFC | Nos. | 2 | 0 | 2 | Complete with all accessories, receiver driver unit, as per detailed specifications
3 | Indoor Fixed Color Camera, wide angle lens | IFC | Nos. | 6 | 0 | 6 | Complete with all accessories, receiver driver unit, as per detailed specifications
4 | Thermal Camera with PIP | TCP | Nos. | 2 | 0 | 2 | Complete with all accessories, receiver driver unit, as per detailed specifications
Surveillance System - Control Room Equipment
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | Workstation for PTZF and Matrix Control | WMC | Nos. | 3 | 0 | 3 | 2@CSCR, 1@MSCR
2 | Digital Recording System complete with Server, Software and all other accessories | DRS | Nos. | 1 | 0 | 1 | 1@CSCR
3 | Thermic Camera Control Equipment including Video Motion Detection | TCCE | Nos. | 1 | 0 | 1 | Located at POC. Video Output of cameras to be sent to camera TCP/IP network.
4 | Video Wall Display 3 unit wide x 2 unit high | VWD | Nos. | 1 | 0 | 1 | Complete with all accessories and control units / devices
5 | Plasma Display Screens | PDS | Nos. | 1 | 0 | 1 | For MSCR
Communication System - Field & Control Room Equipment
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | 1000 mbps Gigabit ethernet switch | GES | Nos. | 2 | 0 | 2 | Complete with all accessories
2 | 10/100 mbps Fast ethernet switch | FES | Nos. | 8 | 0 | 8 | Complete with all accessories
3 | Networking Hub with 12 RJ45 ports | NHP | Nos. | 7 | 0 | 7 | Estimated quantities. Vendor to confirm.
4 | Single Mode Fiber Optic Transceiver Pair for TCP/IP | SFT | Nos. | 1 | 0 | 1 | Estimated quantities. Vendor to confirm.
5 | Multimode Fiber Optic Transceiver Pair for TCP/IP | MFT | Nos. | 3 | 0 | 3 | Estimated quantities. Vendor to confirm.
6 | Single Mode Fiber Optic Transceiver Pair for Video+Data+Sync. | SFV | Nos. | 6 | 0 | 6 | Estimated quantities. Vendor to confirm.
7 | Multimode Fiber Optic Transceiver Pair for Video+Data+Sync | MFV | Nos. | 8 | 0 | 8 | Estimated quantities. Vendor to confirm.
8 | Single Mode Fiber Optic Multiplexer Pair for 16 Video+Sync | SFM | Nos. | 1 | 0 | 1 | For 12 Port Camera + 2 Thermal Camera video inputs.
9 | 12U 19" Rack with Power Strip | RPS | Nos. | 8 | 0 | 8 | Estimated quantities. Vendor to confirm.
10 | Fiber Optic End Termination Box | ETB | Nos. | 30 | 0 | 30 | Estimated quantities. Vendor to confirm.
11 | SC to SC Duplex SMF Patch Cord | SPC | Nos. |  |  |  | As per Vendor requirement.
12 | ST to ST Duplex MMF Patch Cord | MPC | Nos. |  |  |  | As per Vendor requirement.
13 | SC Pig Tail | SCP | Nos. |  |  |  | As per Vendor requirement.
14 | ST Pig Tail | STP | Nos. |  |  |  | As per Vendor requirement.
15 | CAT5 UTP Patch Cord | UPC | Nos. |  |  |  | As per Vendor requirement.
16 | TCP/IP Convertor | TIC | Nos. |  |  |  | As per Vendor requirement
Optional Items / Accessories / Consummables - Unit Rates
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | PTZ Dome Camera - Indoor | DCI | Nos.
2 | PTZ Dome Camera - Outdoor | DCO | Nos.
3 | Outdoor Short Range PTZF Camera with 10-100 mm motorised zoom lens | OSC | Nos.
4 | Explosion-proof Outdoor Medium Range PTZF Color Camera with 10-200 mm motorised Zoom lens | EMC | Nos.
5 | Wiper for Outdoor camera housing | WOC | Nos.
6 | Video Motion Detection System for 4 cameras (including fixed outdoor cameras) | VMD | Nos. |  |  |  | Complete with all accessories and control units / devices
7 | Remote Receiver & Antenna | RRA | Nos.
8 | Remote Transmitter with ID | RTI | Nos.
9 | Guard Tour System Software | GTS | Nos.
10 | Guard Tour System Data Capture Unit | GDCU | Nos.
11 | Guard Tour System Data Download Unit | GDDU | Nos.
12 | Guard Tour System Perimeter Tag Point | GPTP | Nos.
13 | 17" High Resolution Color Monitor | HCM17 | Nos. |  |  |  | As per specifications
14 | 21" High Resolution Color Monitor | HCM21 | Nos. |  |  |  | As per specifications
15 | 16-channel color duplex video multiplexer | DVM | Nos. |  |  |  | As per specifications
16 | Quad splitter - color, real time | QSR | Nos. |  |  |  | As per specifications
17 | 4mm focal length, auto iris, video drive lens | AIL4 | Nos. |  |  |  | As per specifications
18 | 8mm focal length, auto iris, video drive lens | AIL8 | Nos. |  |  |  | As per specifications
19 | 12mm focal length, auto iris, video drive lens | AIL12 | Nos. |  |  |  | As per specifications
20 | 16mm focal length, auto iris, video drive lens | AIL16 | Nos. |  |  |  | As per specifications
21 | Matrix switcher for 64 input, 16 output, 3 keyboards | MSK | Nos. |  |  |  | As per specifications
22 | Online UPS 1 KVA | UPS1 | Nos.
23 | Online UPS 0.5 KVA | UPS2 | Nos.
24 | Online UPS 5 KVA | UPS5 | Nos.
Cables - Unit Rates
S.No. | Item Description | Code | Unit | Qty |  |  | Remarks
|  |  |  | Final | Hold | Total
1 | 24 core SMF Cable - Armored |  | Mtrs.
2 | 12 core SMF Cable - Armored |  | Mtrs.
3 | 12 core MMF Cable - Armored |  | Mtrs.
4 | 24 core Composite Cable - Armored |  | Mtrs.
5 | 12 core Composite Cable - Armored |  | Mtrs.
6 | 24 core SMF Cable - unarmored |  | Mtrs.
7 | 12 core SMF Cable - unarmored |  | Mtrs.
8 | 12 core MMF Cable - unarmored |  | Mtrs.
9 | 24 core Composite Cable - unarmored |  | Mtrs.
10 | 12 core Composite Cable - unarmored |  | Mtrs.
11 | RG11 Coaxial cable - armored |  | Mtrs.
12 | RG11 Coaxial cable - unarmored |  | Mtrs.
13 | Twisted Pair Shielded Cable - armored |  | Mtrs.
14 | Twisted Pair Shielded Cable - unarmored |  | Mtrs.
15 | Unshielded Twisted Pair - CAT5 cable |  | Mtrs.
16 | Power cable |  | Mtrs.
17
18
19
20
Spare Parts
1 | Commissioning Spares | [5 empty] | Vendor to be responsible for all Commissioning spares
2 | Operation spares | [5 empty] | Vendor to provide list of spares for 2 years of operation
Services
1 | Engineering / Project Management
2 | Documentation
3 | Factory Acceptance Test (FAT)
4 | Installation / SAT / Commissioning
5 | Training
6 | Final Acceptance Test
7 | Per Diem Rates
Note
1. All software are required to be used in Windows NT environment.
2. Windows NT Operating system with Server and requisite number of Client licenses to be provided by Vendor.
3. The above quantities are an indicative estimate. Exact quantities of all items shall be verified by the Vendor to ensure completeness and compliance with the Tender document # 1J-JC 0003.
4. Wherever the Quantity mentioned is 0 (zero), unit prices should be quoted for.

## Security Net
Security Net - Refinery Side
S.No. | Switch No. | Type of Switch | Switch Location | Indoor / Outdoor | Junction points in-between | Cameras linked to the Switch | No. of Cameras | New cable to be laid (approx.) mtrs. | Distance from Switch to Switch (mtrs.) | Connectors In-between till CSCR | No. of SMF cores available
1 | RS-01 | 1 Gigabit Switch | Central Security Control Room | I | None | Main Gate (1) | 1 | 0 | NA | 0 | NA
2 | RS-02 | 100mbps Fast Ethernet | Security Gate House | I | IT Bldg. | Refinery Gate (1), Constn. Gate Access Terminal (2), SSO Tower (2) | 5 | 0 | 250 | 8 | 4
3 | RS-03 | 100mbps Fast Ethernet | MMC | I | IT Bldg. | Ave A Str 8 (1), LC2 Access Terminal (2) | 3 | 0 | 5500 | 8 | 2
4 | RS-04 | 100mbps Fast Ethernet | Sulphur Granule Loading Office | I | PIB13, CPP Control Room, IT Bldg. | Ave J Str 8 (1) | 1 | 0 | 7500 | 12 | 4
5 | RS-05 | 100mbps Fast Ethernet | PIB30 | I | RRTF Control Room, IT Bldg. | Rail Terminal (2) | 2 | 0 | 6500 | 10 | 2
6 | RS-06 | 100mbps Fast Ethernet | RRTF Admin. Bldg. | I | IT Bldg. | Ave J Str 1 (1), Vadi Crossing near Material Gate (1), Project Gate (2) | 4 | 0 | 3500 | 8 | 2
|  |  | Total |  |  |  | 16 | 0
Security Net - MTF Side
S.No. | Switch No. | Type of Switch | Switch Location | Indoor / Outdoor | Other Junction points in-between | Cameras linked to the Switch | No. of Cameras | New cable to be laid (approx.) mtrs. | Distance from Switch to Switch (mtrs.) | Connectors In-between till CSCR | No. of SMF cores available
1 | MS-01 | 1 Gigabit Switch | MTF Security Control Room | I | MTF Admin. Bldg., IT Bldg. | MTF Communication Tower (2), Anandi Aptt (1), Nanikhavdi Crossing (1) | 4 | 0 | 16500 | 10 | 4
2 | MS-02 | 100mbps Fast Ethernet | PIB27 | I | Direct to MSCR | Salt Pan Crossing (1) | 1 | 0 | 1500 | 6 | 4
3 | MS-03 | 100mbps Fast Ethernet | Sub-Station 800-20 | I | Direct to MSCR | Sea Water Intake (1) | 1 | 2500 | 2500 | 4 | 0
4 | MS-04 | 100mbps Fast Ethernet | MTF South Gate | O | Direct to MSCR | MTF South Gate (1) | 1 | 1500 | 1500 | 4 | 0
|  |  | Total |  |  | 23 | 7 | 4000
Note -
1. Connection Box, 12U Rack, End Termination Box, Patch Cords, Pig Tails, UTP Patch Panel, and any other equipment / device / accessory that may be required for completeness and compliance to the Tender document shall be Vendor's responsibility.

## Camera List
S.No. | Location No. | Camera Number | Description | Actual Location | Type of Camera | Coordinates | Connected to switch | New Cable to be laid | Existing SMF Cores Reqd. | Type of Cable | Fiber Termination Box
1 | RC-01 | OMC#1 | Avenue A Street 8 Junction | Pyramid | Outdoor PTZF |  | RS-03 | 1500 | 0 | MM | Y
2 | RC-02 | OMC#2 | Avenue J Street 8 Junction | Near Sulphur Loading | Outdoor PTZF |  | RS-04 | 1000 | 0 | MM | Y
3 | RC-03 | OMC#3 | Avenue J Street 1 Junction | On top of RRTF Admin. Bldg. | Outdoor PTZF |  | RS-06 | 0 | 0 | Coax | N
4 | RC-04A | OMC#4 | Communication tower near SSO #1 | Same | Outdoor PTZF |  | RS-02 | 1500 | 0 | MM | Y
5 | RC-04B | OMC#5 | Communication tower near SSO #2 | Same | Outdoor PTZF |  | RS-02 | 0 | 0 | MM
6 | RC-05 | OMC#6 | Rail Terminal (Top of Compressor house) | Light Tower # 1 | Outdoor PTZF |  | RS-05 | 200 | 0 | Coax | N
7 | RC-06 | OMC#7 | Rail Terminal Gate | Light Tower # 5 | Outdoor PTZF |  | RS-05 | 1000 | 0 | MM | Y
8 | RC-07 | OMC#8 | Vadi crossing near Material gate | Between Project Gate & Material Gate | Outdoor PTZF |  | RS-06 | 500 | 1 | SM | Y
9 | CC-01 | OMC#9 | Anandi apartment – Building close to the haul road | Same | Outdoor PTZF |  | MS-01 | 500 | 1 | SM | Y*
10 | CC-02 | OMC#10 | Nani Khavdi crossing | Same | Outdoor PTZF |  | MS-01 | 500 | 1 | SM | Y
11 | MC-01A | OMC#11 | Communication tower in MTF #1 | Same | Outdoor PTZF |  | MS-01 | 200 | 0 | Coax | N
12 | MC-01B | OMC#12 | Communication tower in MTF #2 | Same | Outdoor PTZF |  | MS-01 | 0 | 0 | Coax | N
13 | MC-02 | OMC#13 | Nr. Sea water Intake – MTF | Same | Outdoor PTZF |  | MS-03 | 0 | 0 | Coax | N
14 | MC-03 | OMC#14 | MTF South Gate | Same | Outdoor PTZF |  | MS-04 | 0 | 0 | Coax | N
15 | HC-01 | OMC#15 | Haul road (MTF to Jetty) – After Salt pan crossing | Salt Pan Gate Pipe Rack | Outdoor PTZF |  | MS-02 | 1000 | 0 | MM | Y
16 | RC-08 | OFC#1 | Main Gate | Same | Outdoor Fixed |  | RS-01 | 200 | 1 | SM | Y
17 | RC-09 | OFC#2 | Refinery Gate | On top of Security Gate House | Outdoor Fixed |  | RS-02 | 0 | 0 | Coax | N
18 | RC-10A | IFC#1 | LC-2 Turnstile terminal #1 | Same | Indoor Fixed |  | RS-03 | 500 | 0 | MM | Y
19 | RC-10B | IFC#2 | LC-2 Turnstile terminal #2 | Same | Indoor Fixed |  | RS-03 | 0 | 0 | MM
20 | RC-11A | IFC#3 | Street 1 Turnstile terminal #1 | Same | Indoor Fixed |  | RS-02 | 50 | 0 | Coax | N
21 | RC-11B | IFC#4 | Street 1 Turnstile terminal #2 | Same | Indoor Fixed |  | RS-02 | 0 | 0 | Coax
22 | RC-12A | IFC#5 | Project gate – Registration booth #1 | Same | Indoor Fixed |  | RS-06 | 100 | 1 | SM | Y
23 | RC-12B | IFC#6 | Project gate – Registration booth #2 | Same | Indoor Fixed |  | RS-06 | 0 | 1 | SM
|  |  | Total |  |  |  |  | 8750
Note -
1. SM - Single mode fiber cable, MM - Multi Mode Fiber Cable, Coax - RG11 Coaxial cable
2. Power to the camera location would be provided in a junction box (non-switchable) at grade near the camera location.
* - the Fiber Termination Box to be also utilised for Access Control devices.
Note on L10: Rajan:

## Access Control
Sl.No. | Location Number | Description | Access Control Readers for | [17 empty] | Turnstiles / EM Locks |  |  |  | Field Controller Unit | Data Transmit Unit | Wireless Data Download Unit | Operator Work- station (OWS) | Type of OWS | No. of TCP /IP ports required | CAN port available nearby | If No, nearest CAN Hub location | Additional Network Equipment Requirement | New Cable to be laid (mtrs.)
Employees / Visitors / Agency Personnel / Construction Workers
|  |  | Entry | [8 empty] | Exit
|  |  | SSCR | SCPR | BSCR | PSCR | SCRV | TSCR | SHGR | HGBR | LRPR | SSCR | SCPR | BSCR | PSCR | SCRV | TSCR | SHGR | HGBR | LRPR | SFHB | DFHB | HHB | EML
1 | RA-01 | Main gate | 1 |  |  | 1 | 3 |  | 2 |  |  | 1 |  |  | 1 | 3 |  | 2 |  |  | 1 | 1 |  |  |  |  | 1 | 2 | E |  | Yes |  | 12-port Hub
2 | RA-02 | Refinery gate | 2 |  |  | 1 | [5 empty] | 2 |  |  | 1 | [5 empty] | 2 | [5 empty] | 1 | 1 | A |  | Yes |  | None
3 | RA-03 | Material Gate |  |  |  | 1 | [8 empty] | 1 | [11 empty] | 1 | 1 | E |  | Yes |  | None
4 | RA-04 | Project gate |  |  |  | 1 | [8 empty] | 1 | [12 empty] | 2 | B |  | Yes |  | None
5 | RA-05 | Labour Colony gate | [7 empty] | 5 | [8 empty] | 5 |  | 5 | [6 empty] | 1 | C |  | No |  | 12-port Hub, FO Xvr pair
6 | RA-06 | Construction gate | 5 | [5 empty] | 5 |  |  | 5 | [5 empty] | 5 |  |  | 5 | [9 empty] | No |  | 12-port Hub
7 | RA-07 | Tunnel Access gate |  |  |  |  | 2 | [8 empty] | 2 | [14 empty] | No |  | 12-port Hub, FO Xvr pair | 2000
8 | RA-08 | SSM's office (deleted) | 0 | [8 empty] | 0 | [8 empty] | 0 | [9 empty] | Yes
9 | RA-09 | Main admin building (**) | 8 | [8 empty] | 8 | [11 empty] | 8 |  |  |  |  | I |  | Yes
10 | RA-10 | FDC & Server room (**) | 12 | [8 empty] | 12 | [11 empty] | 12 | [6 empty] | Yes
11 | RA-11 | Refinery control room (**) | 1 | [8 empty] | 1 | [11 empty] | 1 | [6 empty] | Yes
12 | RA-12 | Aromatics control room (**) | 1 | [8 empty] | 1 | [11 empty] | 1 | [6 empty] | Yes
13 | RA-13 | PP control room (**) | 1 | [8 empty] | 1 | [11 empty] | 1 | [6 empty] | Yes
14 | RA-14 | CPP control room (**) | 1 | [8 empty] | 1 | [11 empty] | 1 | [6 empty] | Yes
15 | RA-15 | RRTF control room (**) | 1 | [8 empty] | 1 | [11 empty] | 1 | [6 empty] | Yes
16 | RA-16 | RRTF admin bldg entrance | 1 | [8 empty] | 1 | [8 empty] | 1 | [9 empty] | Yes
17 | RA-17 | Entry into Liquids Loading | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | Yes | RRTF admin bldg |  | 200
18 | RA-18 | Liquids prkg regn term. (*) | [7 empty] | 7 | [17 empty] | 7 | D |  | No | Liquid Time Office | 12-port Hub | 20
19 | RA-19 | Liquids Parking IN gate | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | Yes |  |  | 20
20 | RA-20 | Solids prkg regn term. (*) | [7 empty] | 1 | [17 empty] | 1 | D |  | No | Solid Time Office |  | 20
21 | RA-21 | Rail terminal | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | Yes | PIB30 |  | 200
22 | RA-22 | Sulphur gate | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | Yes | Sulphur Load Office |  | 200
23 | RA-23 | PP gate | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | Yes | PP Weigh Bridge |  | 100
24 | RA-24 | PP warehouse | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1 |  |  | 1 | [9 empty] | Yes | PP Weigh Bridge |  | 100
25 | RA-25 | Ave F, St 7. Junc. Gate | 1 | [8 empty] | 1 | [8 empty] | 1 | [9 empty] | Yes | Sulphur Load Office | 12-port Hub, FO Xvr pair | 500
26 | RA-26 | Ave J, St 1. Junction | 1 | [8 empty] | 1 | [8 empty] | 1 | [9 empty] | Yes | At RRTF Admin. Bldg. |  | 150
27 | MA-01 | MTF main gate | 2 |  |  | 1 |  |  | 2 |  |  | 2 |  |  | 1 |  |  | 2 |  |  | 2 | [5 empty] | 1 | 1 | E |  | Yes
28 | MA-02 | MFT main admin bldg | 2 | [8 empty] | 2 | [9 empty] | 1 | [8 empty] | Yes
29 | MA-03 | MTF B/L gate | 1 | [8 empty] | 1 | [8 empty] | 1 | [9 empty] | Yes | From MTF Admin bldg | 12-port Hub, FO Xvr pair | 300
30 | CA-01 | Haul Road Entry Point - SH25 |  |  |  | 1 | [24 empty] | No | From Project Gate
31 | CA-02 | Haul Road Entry Point - Sikka |  |  |  | 1 | [24 empty] | No | From MTF Admin bldg |  | 100
32 | HA-01 | Harbour Gate |  |  |  | 1 | [24 empty] | No | From PIB27 / Dial-up | Dial-up Module
33 | HA-02 | Trestle Approach Bridge |  |  |  | 1 | [24 empty] | No | From PIB27 / Dial-up | Dial-up Module
34 | $ | T&A readers | [5 empty] | 33 | [8 empty] | 33 | [13 empty] | Yes
35 | $ | Buses (***) |  |  | 40 | [8 empty] | 40 | [11 empty] | 40 |  |  |  |  | Not reqd.
36 | $ | PIBs (**) |  | 25 | [7 empty] | 25 | [11 empty] | 25 | [6 empty] | Yes
37 | $ | Sub-stations (**) |  | 54 | [7 empty] | 54 | [11 empty] | 54 | [6 empty] | Yes | Using Cu cable to PIB
38 | RA-27 | CSCR | [25 empty] | 3 | F, G, H |  | No
39 | MA-04 | MSCR | [25 empty] | 2 | F, G |  | Yes
40 | MA-05 | MTF Control Room(**) | 1 | [8 empty] | 1 | [11 empty] | 1
41 | RA-28 | Solids Parking IN | 1 | [5 empty] | 1 |  |  | 1 | [5 empty] | 1
|  | Total | 49 | 79 | 40 | 9 | 5 | 33 | 16 | 13 | 0 | 127 | 0 | 40 | 5 | 5 | 33 | 15 | 5 | 0 | 25 | 2 | 0 | 105 | 0 | 40 | 4 | 21
|  | Combined Entry/Exit Totals | 176 | 79 | 80 | 14 | 10 | 66 | 31 | 18 | 0 | [22 empty] | 3910
|  | Total Smart Card Readers |  | 425 | Total Hand Geometry Readers | [5 empty] | 49 |  | Note -
(*) - Biometric reader quantities to be finalised after further trials and evaluation at site.
Index for Card Reader Types | [12 empty] | (**) - Indicative quantities. On hold for now. Detailed quantities, exact locations, type of readers to be worked out at a later date as part of detailed engineering.
Reader Types |  |  | Code | Description | [8 empty] | (***) - The entry and exit readers in buses to be combined with the Controller, indication for communication start and stop, and data transfer unit (wireless)
Standard Smart Card Reader |  |  | SSCR | Contact Less Smart Card Reader | [8 empty] | $ - These have more than one location. Details are provided separately in respective worksheet..
Smart Card + PIN Reader |  |  | SCPR | Dual Security Smart Card + Personnel Identification Number Reader | [8 empty] | Index for Operator Workstations
Bus-mounted Smart Card Reader |  |  | BSCR | Smart Card Reader mounted inside Shift Buses | [8 empty] | Code | Description
Portable Smart Card Reader with Entry / Exit switch |  |  | PSCR | Portable Smart Card Reader with Security Guard with state definable between entry or exit | [8 empty] | A | For Employee Registration with Photo-ID Card Making System, PVC ID Card Printer, Smart Card Encoder, Hand Geometry Reader
Smart Card Reader for Vehicle |  |  | SCRV | Smart Card Reader mounted within appropriate card reader stand for use of vehicle drivers | [8 empty] | B | For Agency Personnel Registration with Photo-ID Card Making System, Inkjet Printer, Smart Card Encoder, Hand Geometry Reader
Time-attendance Smart Card Reader with display |  |  | TSCR | Time and Attendance Smart Card Reader with display for Time, Date and Card Number read | [8 empty] | C | For Construction Worker Registration with Photo-ID Card Making System, Inkjet Printer with barcode, Laminator, Hand Geometry Reader
Standard Hand Geometry Reader |  |  | SHGR | Handkey Reader, memory for 9728 users, surface wall mount kit, front cover plate | [8 empty] | D | For Drivers / Cleaners Registration with Photo-ID Card Making System, Inkjet Printer with barcode, Laminator, Hand Geometry Reader
Hand Geometry + Barcode Reader |  |  | HGBR | Handkey Reader, memory for 9728 users, surface wall mount kit, front cover plate, barcode reader | [8 empty] | E | For Issue of Pre-encoded Pre-printed Smart Cards to Visitors, Acceptance of cards on return and correlation of all visitor related data
Long Range Proximity Reader for Vehicle Tracking |  |  | LRPR | RF based Vehicle Tag reader with at least 1.0 meter read range | [8 empty] | F | For normal Access Control functions including defining groups, zones, access levels, etc. and granting and modifying of the same to all categories of users
Single Turnstile |  |  | SFHB | Single Full Height Bi-directional SS 304 Turnstile with Fail-Safe / Fail-Secure settable at site. Torque motor driven. | [8 empty] | G | For Alarm Monitoring, Security Management and Response
Dual Turnstile |  |  | DFHB | Dual Full Height Bi-directional SS 304 Turnstile with Fail-Safe / Fail-Secure settable at site. Torque motor driven. | [8 empty] | H | For Supervisory functions including F & G as well as Operator definitions, etc.
Half Height Turnstile |  |  | HHT | Half Height Bi-directional SS 304 Turnstile with Fail-Safe / Fail-Secure settable at site. | [8 empty] | I | For HR related functions restricted to modifying limited fields within the main User Database (PC connected on CAN to be provided by Owner )

## PIBs
Sl. No. | PIB No. | Plant / Location Description | Location N | Location E | Entry (Card + PIN Reader) | Exit (Card Only Reader) | E.M. Locks
1 | PIB 1 | Aromatics | 44717.400 | 18548.500 | 1 | 1 | 1
2 | PIB 2 | Aromatics | 44717.400 | 18528.000 | 1 | 1 | 1
3 | PIB 3 | Aromatics | 44717.400 | 18651.000 | 1 | 1 | 1
4 | PIB 4 | Aromatics | 45349.200 | 18774.000 | 1 | 1 | 1
5 | PIB 5 | Aromatics | 44697.670 | 18233.700 | 1 | 1 | 1
6 | PIB 6 | Crude | 45171.500 | 19128.600 | 1 | 1 | 1
7 | PIB 7 | Crude | 45168.000 | 18847.000 | 1 | 1 | 1
8 | PIB 8 | Crude | 45341.000 | 19374.500 | 1 | 1 | 1
9 | PIB 9 | Crude | 45341.000 | 18727.000 | 1 | 1 | 1
10 | PIB 10 | Delayed Coker | 44874.100 | 19339.000 | 1 | 1 | 1
11 | PIB 11 | Sulphur | 45332.000 | 19848.000 | 1 | 1 | 1
12 | PIB 13 | Sulphur | 43991.500 | 19960.000 | 1 | 1 | 1
13 | PIB 14 | Propylene Recovery | 45955.000 | 19180.000 | 1 | 1 | 1
14 | PIB 15 | Merox | 45743.000 | 18919.900 | 1 | 1 | 1
15 | PIB 16 | FCC | 45755.000 | 18754.000 | 1 | 1 | 1
16 | PIB 17 | Hydrogen | 45661.000 | 18714.500 | 1 | 1 | 1
17 | PIB 18 | Utilities | 44814.600 | 19722.000 | 1 | 1 | 1
18 | PIB 19 | R.T.F. | 46572.750 | 18633.500 | 1 | 1 | 1
19 | PIB 20 | R.T.F. | 46667.300 | 19518.000 | 1 | 1 | 1
20 | PIB 21 | Liquids Road Loading Area |  |  | 1 | 1 | 1
21 | PIB 23 | Effluent Treatment |  |  | 1 | 1 | 1
22 | PIB 27 | M.T.F. | 2544.100 | 1195.350 | 1 | 1 | 1
23 | PIB 28 | M.T.F. | 1805.500 | 2096.790 | 1 | 1 | 1
24 | PIB 29 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
25 | PIB 30 | Rail Loading | 45811.470 | 21118.470 | 1 | 1 | 1
|  | Total |  |  | 25 | 25 | 25
Note -
1. All PIB's have Hubs connected to Campus Area Network available which can be utilised.
2. The main entry door to the PIB is a blast-proof steel door opening outwards (unsecure side) on which the E.M. Lock, Magnetic Contact sensors, etc. would need to be mounted.
3. At all PIB's additional doors (apart from the main entry door) would need to be monitored. Exact numbers to be confirmed during Detailed Engineering.

## T&A Readers
Sl. No. | Description | Current Terminal No. | Current No. of Terminals | Reqd. T&A readers |  | Location Details | Coordinates (located within box formed)
|  |  |  | In | Out
1 | S.S.O. A-1 | 1,2,3 | 3 | 1 | 1 |  | N48000-N48500, E18000-E18500
2 | S.S.O. A-5 | 5,6 | 2 | 1 | 1 |  | N47500-N48000, E18000-E18500
3 | M.A.B. | 7,8 | 2 | 1 | 1 | Nr Main Entrance | N47500-N48000, E17500-E18000
4 | Site Office 7A | 9,10 | 2 | 1 | 1 |  | N45500-N46000, E18000-E18500
5 | M.M.C. | 11,12 | 2 | 1 | 1 | Nr Main Entrance | N45000-N45500, E18000-E18500
6 | Site Office 5B | 13,14 | 2 | 1 | 1 |  | N46000-N46500, E19500-E20000
7 | Site Office 2A | 15,16 | 2 | 1 | 1 |  | N44500-N45000, E18000-E18500
8 | Site Office 3A | 17,18 | 2 | 1 | 1 |  | N44500-N45000, E19500-E20000
9 | Site Office 4B | 19,20 | 2 | 1 | 1 |  | N44500-N45000, E19000-E19500
10 | Site Office 6 | 21,22 | 2 | 1 | 1 | In MTF | N55000-N55500, E18500-E19000
11 | Pipe Fab. Shop -1 | 23,24 | 2 | 1 | 1 |  | N47500-N48000, E19000-E19500
12 | Pipe Fab. Shop -2 | 25,26 | 2 | 1 | 1 |  | N47500-N48000, E19000-E19500
13 | Site Office - 1A | 29,30 | 2 | 1 | 1 |  | N45000-N45500, E18000-E18500
14 | Training Centre | 31,32 | 2 | 1 | 1 |  | N47500-N48000, E17500-E18000
15 | E.M.B | 33,34 | 2 | 1 | 1 |  | N45000-N45500, E17500-E18000
16 | Site Office - 3C | 35,36 | 2 | 1 | 1 |  | N46000-N46500, E19500-E20000
17 | C.P.P. | 37,38 | 2 | 1 | 1 | In Control Room | N44000-N44500, E19000-E19500
18 | P.P. | 39,40 | 2 | 1 | 1 | In Control Room | N44000-N44500, E18000-E18500
19 | E.O.- 1 | 41,42 | 2 | 1 | 1 | In Township | N48500-N49000, E18000-E18500
20 | Security Control Room | 43,44 | 2 | 1 | 1 | Near Refinery Gate | N47000-N47500, E18000-E18500
21 | S.S.O. A-3 | 45,46 | 2 | 1 | 1 |  | N48000-N48500, E18000-E18500
22 | Site Office 5C | 47,48 | 2 | 1 | 1 |  | N45500-N46000, E19500-E20000
23 | A.C.B. | 49,50 | 2 | 1 | 1 | In Control Room | N44500-N45000, E18500-E19000
24 | Central Laboratory | 51,52 | 2 | 1 | 1 | Near MMC | N44500-N45000, E17500-E18000
25 | MTF - Admin Bldg | 53,54 | 2 | 1 | 1 |  | N55000-N55500, E18500-E19000
26 | R.C.B. | 55,56 | 2 | 1 | 1 | In Control Room | N45000-N45500, E19000-E19500
27 | RRTF Admin. Bldg. | 57,58 | 2 | 1 | 1 | Nr Main Entrance | N47000-N47500, E20500-E21000
28 | Hydrogen Plant | 59,60 | 2 | 1 | 1 | Porta Cabin Nr PIB17 | N45500-N46000, E18500-E19000
29 | Pipe Fab Shop - 4 | 61,62 | 2 | 1 | 1 |  | N48000-N48500, E19000-E19500
30 | PIB - 19 | 63,64 | 2 | 1 | 1 | Nearby Porta Cabin | N46500-N47000, E18500-E19000
31 | PIB - 20 | 65,66 | 2 | 1 | 1 | Nearby Porta Cabin | N46500-N47000, E19500-E20000
32 | Sulphur Plant | 67,68 | 2 | 1 | 1 | Porta Cabin Nr PIB11 | N45000-N45500, E19500-E20000
33 | Crude Train #1 | 69,70 | 2 | 1 | 1 | Porta Cabin Nr PIB6 | N45000-N45500, E18500-E19000
| Total |  | 67 | 33 | 33
Note -
1. All the above locations have existing link to Campus Area Network with UTP cable & RJ45 connector already available which can be utilised.
2. Each pair of In and Out Readers to have common LCD display showing Date, Time, Card Number

## Sub-Stations
Sl. No. | Sub Station Number | Plant / Location Description | Location N | Location E | Entry (Card + PIN Reader) | Exit (Card Only Reader) | E.M. Locks
1 | SS 200-10 | Aromatics | 44697.670 | 18419.400 | 1 | 1 | 1
2 | SS 200-11 | Aromatics | 44337.500 | 18088.000 | 1 | 1 | 1
3 | SS 200-20 | Aromatics | 44717.400 | 18569.000 | 1 | 1 | 1
4 | SS 200-30 | Aromatics | 44717.400 | 18692.000 | 1 | 1 | 1
5 | SS 200-40 | Aromatics | 44717.400 | 18815.000 | 1 | 1 | 1
6 | SS 200-50 | Aromatics | 45339.000 | 18322.000 | 1 | 1 | 1
7 | SS 200-51 | Aromatics | 45349.200 | 18182.500 | 1 | 1 | 1
8 | SS 200-60 | Aromatics | 44724.000 | 18934.000 | 1 | 1 | 1
9 | SS 300-10 | Crude | 45238.000 | 19149.000 | 1 | 1 | 1
10 | SS 300-11 | Crude | 46331.000 | 19469.000 | 1 | 1 | 1
11 | SS 300-12 | Crude | 45341.000 | 19312.000 | 1 | 1 | 1
12 | SS 300-20 | Crude | 45238.000 | 18868.000 | 1 | 1 | 1
13 | SS 300-21 | Crude | 45331.000 | 18621.000 | 1 | 1 | 1
14 | SS 300-22 | Crude | 45336.000 | 18776.500 | 1 | 1 | 1
15 | SS 300-30 | Delayed Coker | 44910.000 | 19326.000 | 1 | 1 | 1
16 | SS 400-20 | Sulphur | 45344.000 | 19804.000 | 1 | 1 | 1
17 | SS 400-21 | Sulphur | 45607.000 | 19618.000 | 1 | 1 | 1
18 | SS 400-12 | Propylene Recovery | 45952.000 | 19254.000 | 1 | 1 | 1
19 | SS 400-13 | Merox | 45755.000 | 18754.000 | 1 | 1 | 1
20 | SS 400-10 | FCC | 45446.750 | 19404.500 | 1 | 1 | 1
21 | SS 500-10 | Hydrogen | 45661.000 | 18672.000 | 1 | 1 | 1
22 | SS 500-11 | Hydrogen | 45661.000 | 18788.000 | 1 | 1 | 1
23 | SS 700-10 | Utilities | 44818.000 | 19777.200 | 1 | 1 | 1
24 | SS 700-11 | Utilities | 43991.500 | 19989.000 | 1 | 1 | 1
25 | SS 700-12 | Utilities | 43750.500 | 21062.500 | 1 | 1 | 1
26 | SS 771-10 | C.P.P. |  |  | 1 | 1 | 1
27 | SS 951-10 | C.P.P. |  |  | 1 | 1 | 1
28 | SS 600-10 | R.T.F. | 46594.000 | 19518.000 | 1 | 1 | 1
29 | SS 600-11 | R.T.F. | 46594.000 | 19518.000 | 1 | 1 | 1
30 | SS 600-12 | R.T.F. | 47016.000 | 19055.000 | 1 | 1 | 1
31 | SS 600-13 | R.T.F. | 46250.000 | 19518.000 | 1 | 1 | 1
32 | SS 600-14 | R.T.F. | 46396.000 | 19055.000 | 1 | 1 | 1
33 | SS 600-16 | R.T.F. | 46407.000 | 19877.000 | 1 | 1 | 1
34 | SS 600-20 | R.T.F. | 46909.000 | 18636.000 | 1 | 1 | 1
35 | SS 600-21 | R.T.F. | 46478.500 | 18571.000 | 1 | 1 | 1
36 | SS 600-22 | R.T.F. | 46193.500 | 18216.700 | 1 | 1 | 1
37 | SS 600-30 | Liquids Road Loading Area |  |  | 1 | 1 | 1
38 | SS 600-31 | Liquids Road Loading Area |  |  | 1 | 1 | 1
39 | SS 600-32 | Liquids Road Loading Area |  |  | 1 | 1 | 1
40 | SS 600-33 | Liquids Road Loading Area |  |  | 1 | 1 | 1
41 | SS 600-34 | Liquids Road Loading Area | 46021.000 | 20054.000 | 1 | 1 | 1
42 | SS 600-35 | Liquids Road Loading Area |  |  | 1 | 1 | 1
43 | SS 600-25 | Effluent Treatment |  |  | 1 | 1 | 1
44 |  | Polypropylene |  |  | 1 | 1 | 1
45 |  | Marine Terminal |  |  | 1 | 1 | 1
46 | SS 800-10 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
47 | SS 800-12 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
48 | SS 800-20 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
49 | SS 800-21 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
50 | SS 800-22 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
51 | SS 800-23 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
52 | SS 800-30 | M.T.F. | 1814.000 | 1420.000 | 1 | 1 | 1
53 | SS 600-24 | M.A.B. | 45811.470 | 21118.470 | 1 | 1 | 1
54 | SS 200-52 | MMC |  |  | 1 | 1 | 1
|  | Total |  |  | 54 | 54 | 54
Note -
1. There may be more than one entry door to the Sub station on which E.M. Lock, Magnetic Contact sensors, etc. would need to be mounted. Exact numbers to be confirmed during Detailed Engineering.
2. At all Sub-stations additional doors (apart from the access controlled doors) would need to be monitored. Exact numbers to be confirmed during Detailed Engineering.