## Slide 1: Non-rigid Registration of Pre-procedural MR Images and Intra-procedural CT Images for CT-guided Percutaneous Cryoablation of Renal Tumors
Sota Oguro, Haytham Elhawary, Paul Morrison, Stuart Silverman, Nobuhiko Hata
Department of Radiology, Brigham and Women’s Hospital, Harvard Medical School

## Slide 2: Percutaneous Cryoablation
Tumor necrosis caused by ice ball
Targeting
  US [Shingleton 01]
  MR [Bassignani 04]
  CT [Gupta 06]
    More available
    Visualization of ice ball
Notes: <number>

## Slide 3: CT-guided cryoablation
Tumor margins
  May not visualized on intra-procedural CT
  Visible in pre-procedural images
Pre-procedural MR
Intra-procedural CT
→ Lack of visualization of tumor margins may lead to difficulty in targeting [Szolar ’97]
Notes: <number>

## Slide 4: Solution
Image Registration (Image fusion)
  Rigid registration [de Senneville 08]
  Non-rigid registration [Zollner 09]
→May identify the tumor margins in fused images
Rigid Non-rigid
MR
CT
Fusion
Notes: <number>

## Slide 5: Purpose
To determine if non-rigid registration was more accurate than rigid registration when fusing pre-procedural contrast enhanced MR images to unenhanced intra-procedural CT images from percutaneous renal cryoablation.

## Slide 6: Methods: Subjects
Retrospective review of CT-guided percutaneous renal cryoablations (Feb-Apr 09)
  N=11 (Mean age: 66.5 y/o)
  MR: 1.5 T, contrast enhanced SPGR, 2.5 mm
  CT: 40-channel MDCT, unenhanced, 3 mm
  Mean tumor size: 23 mm
MR
CT

## Slide 7: Registration
Pre-processing: cropping, masking
Rigid: Manual translation and rotation
Non-rigid: mutual information based
  Affine: scaling and shearing
  B-Spline: free form deformation
[3D Slicer (http://www.slicer.org/)]
Affine
B-Spline

## Slide 8: Validation
Dice Similarity Coefficient (DSC)
  Perfect overlap = 1
  No overlap = 0 [Dice ’45]
Hausdorff Distance (HD)
  Max. mismatch distance between overlay of contours
  Perfect match = 0mm
Student’s t-test: Rigid vs. Non-rigid
Time : Rigid, [Rigid+Non-rigid]
DSC
HD
CT
MR

## Slide 9: Case1
63 y/o female, left RCC
Fused Image
CT+Contours from MR
Rigid, Non-rigid
 | DSC | HD (mm)
Rigid+Non-rigid | 0.98 | 0.8
Rigid | 0.88 | 3.7

## Slide 10: Case2
61 y/o male, left RCC
Fused Image
CT+Contours from MR
Rigid, Non-rigid
 | DSC | HD (mm)
Rigid+Non-rigid | 0.97 | 1.1
Rigid | 0.89 | 3.3

## Slide 11: Results
Mean | DSC | HD (mm) | Time (min.)
Rigid+Non-rigid | 0.96 | 1.7 | 15.2 ± 3.2
Rigid | 0.85 | 6.4 | 5.7 ± 1.2

## Slide 12: Conclusion
Non-rigid registration is more accurate than rigid registration alone.
Non-rigid registration is possibly feasible for practical use in CT-guided renal cryoablation
Non-rigid registration may improve the tumor visualization in CT-guided renal cryoablation.

## Slide 13: Acknowledgments
Intelligent Surgical Instruments Project of METI (Japan)
5U41RR019703, R01CA124377, 5U54EB005149 from NIH
Dr. Sachio Kuribayashi, Department of Radiology, Keio University School of Medicine

## Slide 14: Future
More work is required to reduce total registration time in order to provide near real-time registration.
Show clinical impact in a prospective manner.
Apply the non-rigid registration to other phase of procedure like monitoring.
3D visualization
Ice ball CT